## Slide 1
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | RESTRICTED
Crisis
Response
Report
Compound Incident — Carrier Failure + Security Alert
Public Safety Network Impact | Recovery Framework Activated
R. Lowery | Deputy Chief Networking Officer | Incident Commander
Q2 2027 | June 14, 2027 | Incident Declared: 02:47 AM
RESTRICTED — Crisis Command Documentation | Internal Use Only

## Slide 2
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | CRISIS RESPONSE REPORT
Incident Summary — Command Status
P1 INCIDENT ACTIVE | Declared: June 14, 2027 — 02:47 AM | Incident Commander: R. Lowery | Status: RECOVERY IN PROGRESS
02:47
Incident
Declared
June 14, 2027 AM
P1
Severity
Classification
Life Safety Impact
2
Simultaneous
Events
Carrier + Security
04:12
Partial
Restoration
Public Safety — 85%
Incident Description
At 02:47 AM on June 14, 2027, the City of Harborview primary carrier experienced a fiber cut affecting WAN circuits at 14 Tier 1 locations. Simultaneously, the NOC detected anomalous traffic patterns consistent with a lateral movement attempt across the Public Safety network segment. R. Lowery activated the Network Recovery Framework and the Three Lines of Defense security response at 02:52 AM — five minutes after incident declaration.
Confirmed Impact
HIGH
Public Safety Dispatch — DEGRADED — 85% capacity
CRITICAL
Harbor Airport Connectivity — OFFLINE — backup circuit activating
HIGH
City Hall + 12 facilities — WAN circuit loss — failover in progress
Command Team — Activated
R. Lowery
Incident Commander — DCNO
A. Salado
Network Recovery Lead — WAN
S. Youngblood
Security Response Lead
D. Caldwell
NOC Command — Monitoring
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
02
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 3
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | CRISIS RESPONSE REPORT
Incident Timeline — Recovery Actions
02:47 AM
COMPLETE
Incident Declared
NOC detects simultaneous WAN circuit loss at 14 locations and anomalous traffic on Public Safety segment. P1 declared.
02:52 AM
COMPLETE
Recovery Framework Activated
R. Lowery activates Network Recovery Framework. Command team engaged. CIO Taylor and CISO notified per escalation matrix.
03:05 AM
COMPLETE
Carrier Emergency Escalation
Primary carrier account executive contacted. Fiber cut confirmed — estimated restoration 4–6 hours. Backup circuits activating.
03:12 AM
COMPLETE
Public Safety Backup Circuit — Active
Secondary carrier circuit activated at Public Safety HQ. 85% capacity restored. 911 routing confirmed operational.
03:28 AM
COMPLETE
Security Threat Assessment
S. Youngblood confirms lateral movement attempt blocked by firewall segmentation. No data exfiltration confirmed. CISO briefed.
04:12 AM
ACTIVE
Airport Circuit — Partial Restoration
Harbor Airport backup circuit activated — 60% capacity. Full restoration pending primary carrier repair.
TBD
PENDING
Primary Carrier — Full Restoration
Carrier estimating full fiber restoration by 08:00 AM. R. Lowery monitoring. Post-incident review scheduled June 15.
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
03
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 4
HARBORVIEW OIT | CRISIS RESPONSE | RESTRICTED
Recovery
Command
Network restoration — security response — stakeholder communications
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 5
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | CRISIS RESPONSE REPORT
Recovery Status Dashboard — As of 04:30 AM
Network Recovery — By Tier
DEGRADED
Tier 1 — Public Safety
Availability: 85%
Backup circuit active — 911 routing operational — full restoration pending primary carrier
DEGRADED
Tier 1 — Harbor Airport
Availability: 60%
Backup circuit active — partial capacity — primary circuit restoration in progress
OFFLINE
Tier 1 — City Hall
Availability: 0%
Awaiting backup circuit activation — estimated restoration 05:00 AM
DEGRADED
Tier 2 — Enterprise Network
Availability: 45%
12 of 27 locations on backup circuits — prioritizing Tier 1 restoration first
HOLD
Tier 3 — Administrative
Availability: N/A
Non-critical — restoration deferred pending Tier 1 and Tier 2 completion
SECURITY STATUS: Lateral movement attempt BLOCKED — firewall segmentation confirmed effective — no data exfiltration — Public Safety segment isolated and under continuous monitoring — CISO Damian Oravez briefed at 03:28 AM
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
05
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 6
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | CRISIS RESPONSE REPORT
Stakeholder Communications Log
All notifications executed per Escalation Matrix and Communication Plan
Time
Notified
Method
Message Summary
02:52 AM
CIO Janelle Taylor
Direct call
P1 declared — compound incident — Recovery Framework activated — will update every 30 minutes
02:54 AM
CISO
Direct call
Security alert active — lateral movement attempt — Three Lines of Defense activated — Public Safety segment isolated
02:58 AM
Mayor's Office — Chief of Staff
Direct call
P1 incident — Public Safety network impact — 911 routing degraded — recovery underway — Mayor Brayboy informed
03:15 AM
Public Safety Commissioner
Direct call
85% capacity restored on backup circuit — 911 routing operational — monitoring continuously
03:22 AM
Harbor Airport — Technology Director
Direct call
Backup circuit activating — partial restoration by 04:00 AM — monitoring and escalating to carrier
03:30 AM
All 75 City Technology Stakeholders
Email blast
P1 network incident active — affected departments notified — restoration timeline communicated — next update 06:00 AM
04:30 AM
CIO Taylor — Update 3
Direct call
Public Safety 85% — Airport 60% — City Hall restoration in progress — carrier ETA 08:00 AM — security threat neutralized
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
06
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 7
HARBORVIEW OFFICE OF INNOVATION & TECHNOLOGY | CRISIS RESPONSE REPORT
Post-Incident Accountability & Next Actions
Root Cause — Confirmed
Primary carrier fiber cut — underground conduit damage at Harbor Bridge junction — single-carrier dependency at 14 Tier 1 locations exposed. Simultaneous security event was an opportunistic lateral movement attempt exploiting the connectivity disruption. Firewall segmentation deployed in Year One remediation successfully contained the threat.
What Worked — Year One Investments Validated
✓ Recovery Framework activated in 5 minutes — procedures followed without deviation
✓ Backup circuits at Public Safety HQ restored 911 routing within 25 minutes
✓ Firewall segmentation blocked security threat — zero data exfiltration
✓ Escalation matrix executed perfectly — all stakeholders notified on schedule
✓ NOC monitoring detected both events simultaneously — no blind spots
Corrective Actions — Required
• City Hall backup circuit — immediate procurement
R. Lowery
June 21
• Carrier diversity audit — all 14 affected locations
A. Salado
June 28
• Security — post-incident forensic review
S. Youngblood
June 19
• Full recovery drill — compound scenario
R. Lowery
July 15
• Post-incident report — Mayor and CIO
R. Lowery
June 15
Decisions Required — CIO Taylor / Mayor Brayboy
▶ Emergency carrier diversity procurement — dual-carrier at all 14 affected Tier 1 locations — est. $340K — approval required by June 18
▶ Post-incident security review — independent third-party assessment — est. $85K — CISO recommendation pending
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
07
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit

## Slide 8
Command Posture — Active
R. Lowery remains Incident Commander until full restoration is confirmed and post-incident review is complete.
85%
Public Safety
Restored
60%
Airport
Restored
ACTIVE
Security
Response
08:00
Full Restoration
Est. AM
Next Command Update: 06:00 AM — CIO Taylor briefing | Post-Incident Report: June 15, 2027 — Mayor Brayboy and CIO Taylor
R. Lowery | Incident Commander | Deputy Chief Networking Officer | City of Harborview OIT
Internal Use Only | RESTRICTED — Crisis Command Documentation
Q2 2027 | June 14, 2027
08
1234 Harbor Boulevard, Harborview, PA • harborview.gov/oit